Compliance Check AS/NZS 3833: 2024 - The storage and handling of mixed classes of dangerous goods, in packages and intermediate bulk containers

| Company Name: |  |
| --- | --- |
| Location of proposed/existing storage or handling facility: |  |

Details of proposed/existing storage of mixed classes of dangerous goods

| Class/ Division | UN No | Name of Dangerous Good | Quantity(kL) | Description of Storage (Package) | ID Number (if applicable) |
| --- | --- | --- | --- | --- | --- |

AS NZS 3833:2007 The storage and handling of mixed classes of dangerous goods, in packages and intermediate bulk containers

| SECTION 1 SCOPE AND GENERAL | Page | AS NZS 3833 Specification | Describe what is proposed/actual to demonstrate compliance | Complies (Y/N/NA) |
| --- | --- | --- | --- | --- |
| 1.1 Scope | 1 |  |  |  |
| 1.2 Application | 1 |  |  |  |
| 1.2.1 Which Standard should be used? | 1 |  |  |  |
| 1.2.2 Where this document applies | 2 |  |  |  |
| 1.2.3 Where this document does not apply | 3 |  |  |  |
| 1.3 Normative references | 3 |  |  |  |
| 1.4 Terms and definitions | 5 |  |  |  |

| SECTION 2 MINOR STORAGE | Page | AS NZS 3833 Specification | Describe what is proposed/actual to demonstrate compliance | Complies (Y/N/NA) |
| --- | --- | --- | --- | --- |
| 2.1 Scope of section | 16 |  |  |  |
| 2.2 Criteria for classification as minor storage | 16 |  |  |  |
| 2.3 Precautions applying to minor storage | 16 |  |  |  |
| 2.4 Additional precautions for outdoor minor storage | 17 |  |  |  |

| SECTION 3 RETAIL STORAGE | Page | AS NZS 3833 Specification | Describe what is proposed/actual to demonstrate compliance | Complies (Y/N/NA) |
| --- | --- | --- | --- | --- |
| 3.1 Scope of section | 18 |  |  |  |
| 3.2 Application of section | 18 |  |  |  |
| 3.3 Retail packages | 18 |  |  |  |
| 3.4 General requirements for retail storage | 20 |  |  |  |
| 3.4.1 Design and construction of retail stores | 20 |  |  |  |
| 3.4.2 Ventilation | 20 |  |  |  |
| 3.4.3 Security and access | 21 |  |  |  |
| 3.4.4 Housekeeping | 22 |  |  |  |
| 3.4.5 Segregation of retail packages | 22 |  |  |  |
| 3.4.6 Tinting of flammable paints | 22 |  |  |  |
| 3.4.7 Training | 22 |  |  |  |
| 3.4.8 Inspection of stock | 22 |  |  |  |
| 3.4.9 Fire protection | 23 |  |  |  |
| 3.4.10 Emergency procedures | 23 |  |  |  |
| 3.5 Additional requirements for retail shops for pool chemicals | 23 |  |  |  |
| 3.5.1 Quantities allowed | 23 |  |  |  |
| 3.5.2 Segregation | 24 |  |  |  |
| 3.6 Additional requirements for retail shops selling agricultural chemicals | 24 |  |  |  |
| 3.7 Additional requirements for retail distribution centres storing dangerous goods only in retail packages, in quantities great than Table 3.2 | 24 |  |  |  |
| 3.7.1 General | 24 |  |  |  |
| 3.7.2 Design and construction | 25 |  |  |  |
| 3.7.3 Activities in retail distribution centres | 25 |  |  |  |
| 3.7.4 Control of ignition sources | 25 |  |  |  |

| SECTION 4 TRANSIT STORAGE | Page | AS NZS 3833 Specification | Describe what is proposed/actual to demonstrate compliance | Complies (Y/N/NA) |
| --- | --- | --- | --- | --- |
| 4.1 Scope of section | 28 |  |  |  |
| 4.2 Delineation of transit storage areas | 28 |  |  |  |
| 4.3 Requirements for transit storage | 28 |  |  |  |
| 4.4 Separation and segregation | 29 |  |  |  |

| SECTION 5 STORAGE AND HANDLING OF PACKAGES AND INTERMEDIATE BULK CONTAINERS | Page | AS NZS 3833 Specification | Describe what is proposed/actual to demonstrate compliance | Complies (Y/N/NA) |
| --- | --- | --- | --- | --- |
| 5.1 Scope of section | 30 |  |  |  |
| 5.2 Application of section | 30 |  |  |  |
| 5.3 Planning | 30 |  |  |  |
| 5.3.1 General | 30 |  |  |  |
| 5.3.2 Hazard identification and risk assessment | 30 |  |  |  |
| 5.3.3 Separation and segregation | 31 |  |  |  |
| 5.4 Design and construction of stores | 31 |  |  |  |
| 5.4.1 General | 31 |  |  |  |
| 5.4.2 Exits | 32 |  |  |  |
| 5.4.3 Spillage containment | 32 |  |  |  |
| 5.4.4 Lighting | 33 |  |  |  |
| 5.4.5 Ventilation | 33 |  |  |  |
| 5.5 General requirements | 35 |  |  |  |
| 5.6 Security of storage areas | 36 |  |  |  |
| 5.7 Storage of packages | 36 |  |  |  |
| 5.8 Storage of IBCs | 36 |  |  |  |
| 5.8.1 Stacking | 37 |  |  |  |
| 5.9 Storage in freight containers | 37 |  |  |  |
| 5.10 Storage in cabinets | 38 |  |  |  |
| 5.10.1 Types of substances kept | 38 |  |  |  |
| 5.10.2 Maximum quantities to be kept | 39 |  |  |  |
| 5.10.3 Cabinet construction | 39 |  |  |  |
| 5.10.4 Cabinet location | 39 |  |  |  |
| 5.10.5 Exclusion of ignition sources | 40 |  |  |  |
| 5.10.6 Cabinet marking | 40 |  |  |  |
| 5.11 Offices within stors | 40 |  |  |  |

| SECTION 6 SEPARATION AND SECREGATION | Page | AS NZS 3833 Specification | Describe what is proposed/actual to demonstrate compliance | Complies (Y/N/NA) |
| --- | --- | --- | --- | --- |
| 6.1 Scope of section | 41 |  |  |  |
| 6.2 Separation distances for stores | 41 |  |  |  |
| 6.2.1 General | 41 |  |  |  |
| 6.2.2 Separation to protected places on adjoining properties | 41 |  |  |  |
| 6.2.3 Separation to property boundary and ignition sources | 41 |  |  |  |
| 6.2.4 Separation to on-site protected places | 41 |  |  |  |
| 6.2.5 Measurement of separation distances | 42 |  |  |  |
| 6.3 Segregation within the store | 43 |  |  |  |
| 6.3.1 General | 43 |  |  |  |
| 6.3.2 Segregation of dangerous goods from foodstuffs | 44 |  |  |  |
| 6.3.3 Guidance on segregation distances | 44 |  |  |  |
| 6.3.4 Additional segregation for flammable materials | 46 |  |  |  |
| 6.3.5 Storage of dangerous goods of Division 5.1 | 47 |  |  |  |
| 6.3.6 Storage of non-dangerous goods in segregation spaces | 47 |  |  |  |

| SECTION 7 OPERATIONAL AND PERSONNEL SAFETY | Page | AS NZS 3833 Specification | Describe what is proposed/actual to demonstrate compliance | Complies (Y/N/NA) |
| --- | --- | --- | --- | --- |
| 7.1 Scope of section | 48 |  |  |  |
| 7.2 General precautions | 48 |  |  |  |
| 7.2.1 Control of entry | 48 |  |  |  |
| 7.2.2 Clear access | 48 |  |  |  |
| 7.2.3 Lighting | 48 |  |  |  |
| 7.2.4 Ventilation | 48 |  |  |  |
| 7.2.5 Activities within stores | 48 |  |  |  |
| 7.2.6 Handling precautions | 49 |  |  |  |
| 7.2.7 Process feedstocks and products | 49 |  |  |  |
| 7.2.8 Sources of ignition and heat | 49 |  |  |  |
| 7.2.9 Safety information | 49 |  |  |  |
| 7.2.10 Packagings for dangerous goods | 50 |  |  |  |
| 7.2.11 Marking of packages | 50 |  |  |  |
| 7.2.12 Mechanical handling equipment | 50 |  |  |  |
| 7.3 Operating procedures | 50 |  |  |  |
| 7.3.1 General requirements | 50 |  |  |  |
| 7.3.2 Operating procedures | 51 |  |  |  |
| 7.3.3 Construction and maintenance procedures | 51 |  |  |  |
| 7.3.4 Emergency procedures | 52 |  |  |  |
| 7.3.5 Conformance with procedures | 52 |  |  |  |
| 7.4 Placarding | 52 |  |  |  |
| 7.4.1 Placarding of stores | 52 |  |  |  |
| 7.4.2 Emergency information | 52 |  |  |  |
| 7.5 Housekeeping | 52 |  |  |  |
| 7.5.1 Site upkeep | 52 |  |  |  |
| 7.5.2 Housekeeping procedures | 53 |  |  |  |
| 7.6 Effluent control | 53 |  |  |  |
| 7.7 Construction and maintenance work | 53 |  |  |  |
| 7.7.1 General | 53 |  |  |  |
| 7.7.2 Routine work | 53 |  |  |  |
| 7.7.3 Work permit | 53 |  |  |  |
| 7.7.4 Preparation of work site | 54 |  |  |  |
| 7.7.5 Completion of work and commissioning | 54 |  |  |  |
| 7.7.6 Hot work | 54 |  |  |  |
| 7.7.7 Management of change | 54 |  |  |  |
| 7.8 Personnel training | 55 |  |  |  |
| 7.8.1 Training of workers | 55 |  |  |  |
| 7.8.2 Contractors | 56 |  |  |  |
| 7.8.3 Hygiene | 56 |  |  |  |
| 7.9 Personal protective | 56 |  |  |  |
| 7.9.1 General | 56 |  |  |  |
| 7.9.2 Types of personal protective equipment | 56 |  |  |  |
| 7.9.3 Care and maintenance of personal protective equipment | 57 |  |  |  |
| 7.10 First aid | 57 |  |  |  |

| SECTION 8 EMERGENCY MANAGEMENT | Page | AS NZS 3833 Specification | Describe what is proposed/actual to demonstrate compliance | Complies (Y/N/NA) |
| --- | --- | --- | --- | --- |
| 8.1 Scope of section | 58 |  |  |  |
| 8.2 Planning for emergencies | 58 |  |  |  |
| 8.2.1 Considerations in designing premises | 58 |  |  |  |
| 8.2.2 Emergency plan | 58 |  |  |  |
| 8.3 Emergency services requirements | 60 |  |  |  |
| 8.4 Management of leaks and spills | 60 |  |  |  |
| 8.4.1 General | 60 |  |  |  |
| 8.4.2 Clean-up materials and equipment | 60 |  |  |  |
| 8.4.3 Actions for dealing with leaks and spills | 60 |  |  |  |

| SECTION 9 FIRE PROTECTION | Page | AS NZS 3833 Specification | Describe what is proposed/actual to demonstrate compliance | Complies (Y/N/NA) |
| --- | --- | --- | --- | --- |
| 9.1 Scope of section | 62 |  |  |  |
| 9.2 Fire hazards | 62 |  |  |  |
| 9.3 Fire protection measures | 62 |  |  |  |
| 9.3.1 General | 62 |  |  |  |
| 9.3.2 Design | 63 |  |  |  |
| 9.3.3 System drawing illustrations | 63 |  |  |  |
| 9.3.4 Equipment and piping identification | 63 |  |  |  |
| 9.3.5 Impact protection | 64 |  |  |  |
| 9.3.6 Heat protection | 64 |  |  |  |
| 9.3.7 Compatibility | 64 |  |  |  |
| 9.3.8 Location | 64 |  |  |  |
| 9.3.9 Weather protection | 64 |  |  |  |
| 9.3.10 Labelling of firefighting equipment | 64 |  |  |  |
| 9.3.11 Fixed fire protection and detection systems | 65 |  |  |  |
| 9.3.12 Fire alarm systems | 65 |  |  |  |
| 9.4 Portable fire extinguishers | 65 |  |  |  |
| 9.4.1 General | 65 |  |  |  |
| 9.4.2 Special risks | 65 |  |  |  |
| 9.4.3 Maintenance | 66 |  |  |  |
| 9.4.4 Limitations | 66 |  |  |  |
| 9.4.5 Type and rating | 66 |  |  |  |
| 9.5 Fire hose reels | 66 |  |  |  |
| 9.6 Fire hydrants | 67 |  |  |  |
| 9.7 Monitors | 67 |  |  |  |
| 9.8 Automatic sprinkler systems | 68 |  |  |  |
| 9.9 Water Supply | 68 |  |  |  |
| 9.10 Retention of fire water | 68 |  |  |  |
| 9.11 Fire protection requirements | 68 |  |  |  |

| SECTION 10 WASTE AND STORAGE DISPOSAL | Page | AS NZS 3833 Specification | Describe what is proposed/actual to demonstrate compliance | Complies (Y/N/NA) |
| --- | --- | --- | --- | --- |
| 10.1 Scope of section | 71 |  |  |  |
| 10.2 Storage of wastes | 71 |  |  |  |
| 10.3 Waste and inventory management | 71 |  |  |  |
| 10.4 Methods of disposal | 71 |  |  |  |

| APPENDICES | Page |
| --- | --- |
| Appendix A (informative) Classes of dangerous goods | 72 |
| Appendix B (informative) Issues to be considered | 75 |
| Appendix C (informative) Example risk assessment for separation and segregation risk assessment examples | 78 |
| Appendix D (informative) Emergency services information requirements | 83 |
| Appendix E (informative) Placarding, marking, labelling and signage for storage and handling | 85 |
| Appendix F (informative) Bibliography of documents providing guidelines on the preparation of emergency plans | 87 |
| Appendix G (informative) Stacking and handling different types of IBCs | 88 |

Areas of Non-conformance and Action Plan

| Non Conformance Number | Section Number | Action Plan | Action by | Due Date | Completion Date | Comments |
| --- | --- | --- | --- | --- | --- | --- |

Compliance check summary

This proposed / existing - storage of (describe storage) - complies/does not comply with AS NZS 3833-2024.

Name of assessor/s ……………………………………………………	………………………………………………………………	Date ……………………

Signature/s ………………………………………………………………	Date of next review …………………………………………………………………